## WOD-Overall
Loc # | Lat | Long | Segment | Location | Agency | Line | Pothole Depth | Comment
ATT-001 | 33.9592 | -117.0227 | Seg - 4 | 4N45 | AT&T | FO | Line Only | Location based on above ground structure (Manhole)
ATT-002 | 33.9593 | -117.0229 | Seg - 4 | 4N45 | AT&T | FO | 5
ATT-003 | 33.9595 | -117.0232 | Seg - 4 | 4N45 | AT&T | FO | 4
ATT-004 | 33.9598 | -117.0236 | Seg - 4 | 4N45 | AT&T | FO | 4.5
ATT-005 | 33.96 | -117.024 | Seg - 4 | 4N45 | AT&T | FO | 4.5
ATT-006 | 33.9604 | -117.0245 | Seg - 4 | 4N45 | AT&T | FO | Line Only | Location based on above ground structure (Manhole)
ATT-007 | 33.9878 | -117.1528 | Seg - 3 | 3S33 | AT&T | FO | 3 | Electric & Fiber in same trench
ATT-008 | 33.9878 | -117.1527 | Seg - 3 | 3S33 | AT&T | FO | 5+ | Electric & Fiber in same trench
BAN-001 | 33.9473 | -116.8769 | Seg - 5 | D-EC 63(73) | Banning Water | 8 "WAT | 3
BAN-002 | 33.9473 | -116.877 | Seg - 5 | D-EC 63(73) | Banning Water | 8 "WAT | 3
BAN-003 | 33.9473 | -116.8771 | Seg - 5 | D-EC 63(73) | Banning Water | 12 "WAT | 2.75
BAN-004 | 33.9472 | -116.877 | Seg - 5 | D-EC 63(73) | Banning Water | 12 "WAT | 2.9167
BAN-005 | 33.9473 | -116.8771 | Seg - 5 | D-EC 63(73) | Banning Water | 30 "WAT | 4.5
BAN-006 | 33.9475 | -116.8772 | Seg - 5 | D-EC 63(73) | Banning Water | 8 "WAT | 5.5+ | Found Nothing
BCVW-001 | 33.9592 | -117.024 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | 5.3333
BCVW-002 | 33.9592 | -117.0241 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | 5
BCVW-003 | 33.9591 | -117.0244 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | Line Only | Location based on agency representative delineation.
BCVW-004 | 33.9593 | -117.0236 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | Line Only | Location based on agency representative delineation.
BCVW-005 | 33.9593 | -117.0229 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | Line Only | Location based on agency representative delineation.
BCVW-006 | 33.9591 | -117.0248 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | Line Only | Location based on agency representative delineation.
BCVW-007 | 33.9591 | -117.0251 | Seg - 4 | 4S45 | Beaumont-Cherry Valley Water | R-WAT | Line Only | Location based on agency representative delineation.
COB-001 | 33.9503 | -116.9745 | Seg - 4 | 4N31 | City of Beaumont | SEW | Line Only | Sewer Manhole located in field
CGT-001 | 34.0446 | -117.2994 | Seg - 2 | 2N27 | City of Grand Terrace | SEW | Line Only | Location based on above ground structure (Manhole)
CGT-002 | 34.045 | -117.299 | Seg - 2 | 2N27 | City of Grand Terrace | SEW | Line Only | Location based on above ground structure (Manhole)
CGT-003 | 34.0442 | -117.2997 | Seg - 2 | 2N27 | City of Grand Terrace | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-001 | 34.0506 | -117.2387 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-002 | 34.051 | -117.2397 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-003 | 34.0512 | -117.24 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-004 | 34.066 | -117.2394 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-005 | 34.066 | -117.2385 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SEW | Line Only | Location based on above ground structure (Manhole)
CLL-006 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | 3.5 | Measured to depth of pipe in MH
CLL-007 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | 4.75
CLL-008 | 34.0516 | -117.2394 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3
CLL-009 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3 | Location based on agency representative delineation. Depth based on GPR reading
CLL-010 | 34.0516 | -117.2394 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3 | Location based on agency representative delineation. Depth based on GPR reading
CLL-011 | 34.0515 | -117.2397 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3 | Location based on agency representative delineation. Depth based on GPR reading
CLL-012 | 34.0515 | -117.2398 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3 | Location based on agency representative delineation. Depth based on GPR reading
CLL-013 | 34.0516 | -117.2398 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | 9 | Measured to depth of pipe in MH
CLL-014 | 34.0655 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1
CLL-015 | 34.0656 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1
CLL-016 | 34.0657 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1
CLL-017 | 34.0657 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1.33
CLL-018 | 34.0658 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1
CLL-019 | 34.0659 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1
CLL-020 | 34.066 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1.33
CLL-021 | 34.0661 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1.33
CLL-022 | 34.0661 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1.33
CLL-023 | 34.0662 | -117.2393 | Seg - 1 | 1W20/1E20 | City of Loma Linda | SD | 1.33
CLL-024 | 34.0517 | -117.2394 | Seg - 1 | 1W11/1E11 | City of Loma Linda | SEW | 6+ | Location based on agency representative delineation. Potholed to 6 ft and found nothing
CLL-025 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-026 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-027 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-028 | 34.0518 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-029 | 34.0519 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-030 | 34.0517 | -117.2393 | Seg - 1 | 1W11/1E11 | City of Loma Linda | WAT | 3
CLL-031 | 34.066 | -117.2387 | Seg - 1 | EC-SB 7 | City of Loma Linda | SEW | 7+ | Location based on agency representative delineation. Potholed to 7'4" found nothing
CLL-032 | 34.066 | -117.2389 | Seg - 1 | SB-V 7/EC-SB 7 | City of Loma Linda | SEW | 7+ | Location based on agency representative delineation. Potholed to 7'4" found nothing
CLL-033 | 34.066 | -117.2392 | Seg - 1 | SB-V 7 | City of Loma Linda | SEW | 7+ | Location based on agency representative delineation. Potholed to 7'4" found nothing
CLL-034 | 34.06 | -117.2389 | Seg - 1 | SB-V 10 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-035 | 34.0602 | -117.2391 | Seg - 1 | SB-V 10 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
CLL-036 | 34.0602 | -117.2392 | Seg - 1 | SB-V 10 | City of Loma Linda | WAT | 3.5833
CLL-037 | 34.0602 | -117.2393 | Seg - 1 | SB-V 10 | City of Loma Linda | WAT | Line Only | Location based on agency representative delineation.
COR-001 | 34.0439 | -117.3169 | Seg - 2 | 2N35 | City of Riverside | 42" WAT | Line Only | Abandoned water pipeline, about 12 feet deep.
COR-002 | 34.0439 | -117.3172 | Seg - 2 | 2N35 | City of Riverside | 42" WAT | Line Only | Abandoned water pipeline, about 12 feet deep.
COR-003 | 34.0438 | -117.3174 | Seg - 2 | 2N35 | City of Riverside | 42" WAT | Line Only | Abandoned water pipeline, about 12 feet deep.
COR-004 | 34.0438 | -117.3176 | Seg - 2 | 2N35 | City of Riverside | 42" WAT | Line Only | Abandoned water pipeline, about 12 feet deep.
COR-005 | 34.0437 | -117.3178 | Seg - 2 | 2N35 | City of Riverside | 42" WAT | Line Only | Abandoned water pipeline, about 12 feet deep.
DWR-001 | 34.0449 | -117.3019 | Seg - 2 | 2N29 | Department of Water Resources | WAT | Line Only | Location based on above ground structure (Manhole)
DWR-002 | 34.0433 | -117.3021 | Seg - 2 | 2N29 | Department of Water Resources | WAT | Line Only | Location based on above ground structure (Manhole)
GAG-001 | 34.0451 | -117.3046 | Seg - 2 | 2N30 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-002 | 34.045 | -117.3039 | Seg - 2 | 2N30 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-003 | 34.0448 | -117.3036 | Seg - 2 | 2N30 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-004 | 34.0447 | -117.3033 | Seg - 2 | 2N29 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-005 | 34.0447 | -117.3029 | Seg - 2 | 2N29 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-006 | 34.0447 | -117.3023 | Seg - 2 | 2N29 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-007 | 34.0446 | -117.3022 | Seg - 2 | 2N29 | Gage Canal | WAT | Line Only | Location based on above ground structure (Headwall)
GAG-008 | 34.0447 | -117.3012 | Seg - 2 | 2N28 | Gage Canal | WAT | Line Only | Location based on above ground structure (Headwall)
GAG-009 | 34.0447 | -117.3003 | Seg - 2 | 2N28 | Gage Canal | WAT | Line Only | Location based on above ground structure (Concrete)
GAG-010 | 34.0447 | -117.3003 | Seg - 2 | 2N28 | Gage Canal | WAT | Line Only | Location based on above ground structure (Headwall)
GAG-011 | 34.045 | -117.2986 | Seg - 2 | 2N27 | Gage Canal | WAT | Line Only | Location based on above ground structure (Headwall)
KM-001 | 34.0511 | -117.2397 | Seg - 1 | 1W11/1E11 | Kinder Morgan | PIPELINE | Line Only | Location based on agency representative delineation.
KM-002 | 34.051 | -117.2396 | Seg - 1 | 1W11/1E11 | Kinder Morgan | PIPELINE | Line Only | Location based on agency representative delineation.
KM-003 | 34.051 | -117.2395 | Seg - 1 | 1W11/1E11 | Kinder Morgan | PIPELINE | Line Only | Location based on agency representative delineation.
KM-004 | 34.0509 | -117.2392 | Seg - 1 | 1W11/1E11 | Kinder Morgan | PIPELINE | Line Only | Location based on agency representative delineation.
KM-005 | 33.9626 | -117.0746 | Seg - 4 | 3S01 | Kinder Morgan | PIPELINE | 4
KM-006 | 33.9629 | -117.0763 | Seg - 4 | 3S02 | Kinder Morgan | PIPELINE | 4.0833
KM-007 | 33.9637 | -117.0792 | Seg - 4 | 3S03 | Kinder Morgan | PIPELINE | 4+ | Found nothing
KM-008 | 33.9644 | -117.0818 | Seg - 4 | 3S04 | Kinder Morgan | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
KM-009 | 33.9668 | -117.0861 | Seg - 3 | 3N05 | Kinder Morgan | PIPELINE | 4.8333
KM-010 | 33.9711 | -117.103 | Seg - 3 | 3S14 | Kinder Morgan | PIPELINE | 6+ | Found nothing
KM-011 | 33.971 | -117.1024 | Seg - 3 | 3S14/3N13 | Kinder Morgan | PIPELINE | 4.3333
KM-012 | 33.9712 | -117.1045 | Seg - 3 | 3S14 | Kinder Morgan | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
KM-013 | 33.9759 | -117.115 | Seg - 3 | 3S18 | Kinder Morgan | PIPELINE | 6
KM-014 | 33.9753 | -117.1148 | Seg - 3 | 3S18 | Kinder Morgan | PIPELINE | 5
KM-015 | 33.9749 | -117.1146 | Seg - 3 | 3S18 | Kinder Morgan | PIPELINE | 5
KM-016 | 33.9853 | -117.1447 | Seg - 3 | 3N30 | Kinder Morgan | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
LVL3-001 | 34.032 | -117.2424 | Seg - 2 | 2N01 | Level 3 | FO | Line Only | Location based on agency representative delineation. Lvl-3 uses Southern Pacific Pipeline as conduit
LVL3-002 | 34.0378 | -117.2648 | Seg - 2 | 2N12 | Level 3 | FO | Line Only | Location based on agency representative delineation. Lvl-3 uses Southern Pacific Pipeline as conduit
LVL3-003 | 34.0379 | -117.265 | Seg - 2 | 2N12 | Level 3 | FO | Line Only | Location based on agency representative delineation. Lvl-3 uses Southern Pacific Pipeline as conduit
LVL3-004 | 34.0324 | -117.2402 | Seg - 2 | 2N01 | Level 3 | FO | 3.33 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-005 | 34.0323 | -117.2403 | Seg - 2 | 2N01 | Level 3 | FO | 1.25 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-006 | 34.0323 | -117.2405 | Seg - 2 | 2N01 | Level 3 | FO | 4.1 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-007 | 34.038 | -117.2651 | Seg - 2 | 2N12 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-008 | 34.0378 | -117.2648 | Seg - 2 | 2N12 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-009 | 34.0377 | -117.2647 | Seg - 2 | 2N12 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-010 | 34.0375 | -117.2645 | Seg - 2 | 2N12 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-011 | 34.0371 | -117.2641 | Seg - 2 | 2N12 | Level 3 | FO | 5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-012 | 34.0369 | -117.2637 | Seg - 2 | 2N12 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-013 | 34.0369 | -117.2637 | Seg - 2 | 2N12 | Level 3 | FO | Line Only | Location based on agency representative delineation.
LVL3-014 | 34.0369 | -117.2636 | Seg - 2 | 2N12 | Level 3 | FO | Line Only | Location based on agency representative delineation.
LVL3-015 | 34.037 | -117.2629 | Seg - 2 | 2N11 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-016 | 34.037 | -117.2628 | Seg - 2 | 2N11 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-017 | 34.0363 | -117.2618 | Seg - 2 | 2N11 | Level 3 | FO | 1.25 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-018 | 34.0362 | -117.2617 | Seg - 2 | 2N11 | Level 3 | FO | 2.25 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-019 | 34.0359 | -117.2614 | Seg - 2 | 2N11 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-020 | 34.0358 | -117.2612 | Seg - 2 | 2N11 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-021 | 34.0323 | -117.2406 | Seg - 2 | 2N01 | Level 3 | FO | 2.42 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-022 | 34.0322 | -117.2409 | Seg - 2 | 2N01 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-023 | 34.032 | -117.2423 | Seg - 2 | 2N02 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-024 | 34.032 | -117.2423 | Seg - 2 | 2N02 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-025 | 34.0321 | -117.2416 | Seg - 2 | 2N01 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-026 | 34.0321 | -117.2414 | Seg - 2 | 2N01 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-027 | 34.0321 | -117.2413 | Seg - 2 | 2N01 | Level 3 | FO | 4.25 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-028 | 34.0321 | -117.2413 | Seg - 2 | 2N01 | Level 3 | FO | 3 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-029 | 34.0321 | -117.2412 | Seg - 2 | 2N01 | Level 3 | FO | 2.6667 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-030 | 34.0321 | -117.2411 | Seg - 2 | 2N01 | Level 3 | FO | 3.5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-031 | 34.032 | -117.2418 | Seg - 2 | 2N01 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-032 | 34.0324 | -117.2396 | Seg - 1 | 1E02 | Level 3 | FO | 2 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-033 | 34.0324 | -117.2396 | Seg - 1 | 1E02 | Level 3 | FO | 6 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-034 | 34.0324 | -117.2395 | Seg - 1 | 1E02 | Level 3 | FO | 3.5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-035 | 34.0324 | -117.2394 | Seg - 1 | 1E02 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-036 | 34.0305 | -117.2337 | Seg - 3 | 3N64 | Level 3 | FO | 3.5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-037 | 34.0305 | -117.2337 | Seg - 3 | 3N64 | Level 3 | FO | 3.9 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-038 | 34.0314 | -117.2351 | Seg - 3 | 3N64 | Level 3 | FO | 5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-039 | 34.0315 | -117.2353 | Seg - 3 | 3N64 | Level 3 | FO | 5.1 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-040 | 34.0316 | -117.2357 | Seg - 3 | 3N64 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-041 | 34.0317 | -117.2358 | Seg - 3 | 3N64 | Level 3 | FO | 5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-042 | 34.0323 | -117.2373 | Seg - 3 | 3N64 | Level 3 | FO | 4.5 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-043 | 34.0324 | -117.2376 | Seg - 3 | 3N64 | Level 3 | FO | 7+ | Went down 7' and found nothing
LVL3-044 | 33.9626 | -117.0746 | Seg - 4 | 3S01 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-045 | 33.9629 | -117.0762 | Seg - 4 | 3S02 | Level 3 | FO | 4 | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-046 | 33.9637 | -117.0792 | Seg - 4 | 3S03 | Level 3 | FO | 4+ | Found nothing
LVL3-047 | 33.9644 | -117.0817 | Seg - 4 | 3S04 | Level 3 | FO | Line Only | Level 3 uses Souther Pacific Pipeline / Kinder Morgan as conduit
LVL3-048 | 33.971 | -117.101 | Seg - 3 | 3N13 | Level 3 | FO | 5.4+ | Found nothing
LVL3-049 | 33.971 | -117.1013 | Seg - 3 | 3N13 | Level 3 | FO | 5+ | Found nothing
LVL3-050 | 33.971 | -117.1015 | Seg - 3 | 3N13 | Level 3 | FO | Line Only | Location based on agency representative delineation.
LVL3-051 | 33.9711 | -117.1024 | Seg - 3 | 3S14/3N13 | Level 3 | FO | 7+ | Found nothing
LVL3-052 | 33.9711 | -117.1025 | Seg - 3 | 3S14/3N13 | Level 3 | FO | 6.5
LVL3-053 | 33.9711 | -117.103 | Seg - 3 | 3S14 | Level 3 | FO | 5.5
LVL3-054 | 33.9712 | -117.1042 | Seg - 3 | 3S14 | Level 3 | FO | Line Only | At Bollard Sta 2946+00
LVL3-055 | 33.976 | -117.115 | Seg - 3 | 3S18 | Level 3 | FO | 3.5
LVL3-056 | 33.9759 | -117.115 | Seg - 3 | 3S18 | Level 3 | FO | 4 | Location based on agency representative delineation.
LVL3-057 | 33.9754 | -117.1147 | Seg - 3 | 3S18 | Level 3 | FO | 4
LVL3-058 | 33.9749 | -117.1145 | Seg - 3 | 3S18 | Level 3 | FO | 6+ | Found nothing
LVL3-059 | 33.975 | -117.1146 | Seg - 3 | 3S18 | Level 3 | FO | 4.1667
LVL3-060 | 34.03 | -117.2325 | Seg - 3 | 3N63 | Level 3 | FO | Line Only | Location based on above ground structure (Bollard)
LVL3-061 | 34.0277 | -117.2277 | Seg - 3 | 3N62 | Level 3 | FO | Line Only | Location based on above ground structure (Bollard)
LVL3-062 | 34.0268 | -117.226 | Seg - 3 | 3N62 | Level 3 | FO | Line Only | Location based on above ground structure (Bollard) Sta 3391+58
LVL3-063 | 34.0239 | -117.217 | Seg - 3 | 3N59 | Level 3 | FO | Line Only | Location based on above ground structure (Bollard)
LVL3-064 | 34.0232 | -117.2131 | Seg - 3 | Access RD | Level 3 | FO | Line Only | Location based on above ground structure (Bollard)
LVL3-065 | 34.0211 | -117.2069 | Seg - 3 | Access RD | Level 3 | FO | Line Only | Location based on above ground structure (Bollard) Sta 3328+91
LVL3-066 | 33.9853 | -117.1447 | Seg - 3 | 3N30 | Level 3 | FO | Line Only | Location based on above ground structure (Bollard)
MCI-001 | 34.0509 | -117.2392 | Seg - 1 | 1W11/1E11 | MCI/Verizon | FO | Line Only | Location based on agency representative delineation.
MCI-002 | 34.051 | -117.2394 | Seg - 1 | 1W11/1E11 | MCI/Verizon | FO | Line Only | Location based on agency representative delineation.
MCI-003 | 34.051 | -117.2395 | Seg - 1 | 1W11/1E11 | MCI/Verizon | FO | Line Only | Location based on agency representative delineation.
MCI-004 | 34.0511 | -117.2396 | Seg - 1 | 1W11/1E11 | MCI/Verizon | FO | Line Only | Location based on agency representative delineation.
MCI-005 | 34.0511 | -117.2398 | Seg - 1 | 1W11/1E11 | MCI/Verizon | FO | Line Only | Location based on agency representative delineation.
MOR-001 | 33.9338 | -116.8248 | Seg - 5 | D-EC 71P-TSP-1 | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-002 | 33.9386 | -116.832 | Seg - 5 | Access Rd | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-003 | 33.9386 | -116.8329 | Seg - 5 | Access Rd | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-004 | 33.9383 | -116.8329 | Seg - 5 | Access Rd | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-005 | 33.9363 | -116.8285 | Seg - 5 | Access Rd | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-006 | 33.9336 | -116.8245 | Seg - 5 | Access Rd | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-007 | 33.9328 | -116.8245 | Seg - 5 | D-V 168Y (30A) | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-008 | 33.9327 | -116.8244 | Seg - 5 | D-V 168Y (30A) | Morongo Water | WAT | Line Only | Location based on above ground structure (Posted Sign)
MOR-009 | 33.9327 | -116.8229 | Seg - 5 | D-V 168Y (30A) | Morongo Water | 16" WAT | Line Only | Location based on agency representative delineation.
MOR-010 | 33.9327 | -116.8229 | Seg - 5 | D-V 168Y (30A) | Morongo Water | 16" WAT | Line Only | Location based on agency representative delineation.
MOR-011 | 33.9327 | -116.8236 | Seg - 5 | D-V 168Y (30A) | Morongo Water | 16" WAT | 3.4167
MOR-012 | 33.9327 | -116.8237 | Seg - 5 | D-V 168Y (30A) | Morongo Water | 16" WAT | 3.5833
MOR-013 | 33.9327 | -116.8238 | Seg - 5 | D-V 168Y (30A) | Morongo Water | 16" WAT | 3.4167
MOR-014 | 33.9327 | -116.8244 | Seg - 5 | D-V 168X-T SP-1(30) | Morongo Water | 16" WAT | Line Only | Location based on agency representative delineation.
MOR-015 | 33.9328 | -116.8245 | Seg - 5 | D-V 168X-T SP-1(30) | Morongo Water | 16" WAT | Line Only | Location based on agency representative delineation.
MOR-016 | 33.9339 | -116.8245 | Seg - 5 | D-V 168X-T SP-1(30) | Morongo Water | 16" WAT | Line Only | Location based on agency representative delineation.
MSWD-001 | 33.9319 | -116.5973 | Seg - 6 | D-V 236 | Misson Springs Water Department | WAT | 7+ | Nothing Found
MSWD-002 | 33.9319 | -116.5971 | Seg - 6 | D-V 236 | Misson Springs Water Department | WAT | Line Only | Location based on agency representative delineation.
MSWD-003 | 33.9319 | -116.597 | Seg - 6 | D-V 236 | Misson Springs Water Department | WAT | 3
MSWD-004 | 33.9319 | -116.5971 | Seg - 6 | D-V 236 | Misson Springs Water Department | WAT | Line Only | Location based on above ground structure (Fire Hydrant)
MSWD-005 | 33.9334 | -116.603 | Seg - 6 | D-EC 129 | Misson Springs Water Department | WAT | Line Only | Location based on above ground structure (Valve)
MSWD-006 | 33.9326 | -116.603 | Seg - 6 | D-EC 129 | Misson Springs Water Department | WAT | 2.75
MSWD-007 | 33.9322 | -116.603 | Seg - 6 | D-V 234 | Misson Springs Water Department | WAT | Line Only | Location based on agency representative delineation.
MSWD-008 | 33.9322 | -116.603 | Seg - 6 | D-V 234 | Misson Springs Water Department | WAT | Line Only | Location based on agency representative delineation.
MSWD-009 | 33.9318 | -116.603 | Seg - 6 | D-V 234 | Misson Springs Water Department | WAT | 3
MSWD-010 | 33.9317 | -116.603 | Seg - 6 | D-V 234 | Misson Springs Water Department | WAT | 3
MSWD-011 | 33.9304 | -116.6868 | Seg - 6 | D-V 207 | Misson Springs Water Department | WAT | Line Only | Location based on above ground structure (Valve)
MSWD-012 | 33.9305 | -116.6869 | Seg - 6 | D-V 207 | Misson Springs Water Department | WAT | 7+ | Found Nothing
MSWD-013 | 33.9305 | -116.6869 | Seg - 6 | D-V 207 | Misson Springs Water Department | WAT | 2.5
MSWD-014 | 33.9306 | -116.687 | Seg - 6 | D-V 207 | Misson Springs Water Department | WAT | 2
MSWD-015 | 33.9316 | -116.6968 | Seg - 6 | D-EC 103A | Misson Springs Water Department | WAT | 3
MSWD-016 | 33.9317 | -116.6969 | Seg - 6 | D-EC 103A | Misson Springs Water Department | WAT | 3
MSWD-017 | 33.9315 | -116.6873 | Seg - 6 | D-EC 106 | Misson Springs Water Department | WAT | 3.3333
MSWD-018 | 33.9315 | -116.6873 | Seg - 6 | D-EC 106 | Misson Springs Water Department | WAT | 3.5
MSWD-019 | 33.9316 | -116.6874 | Seg - 6 | D-EC 106 | Misson Springs Water Department | WAT | 2.5833
MSWD-020 | 33.9314 | -116.6873 | Seg - 6 | D-EC 106 | Misson Springs Water Department | WAT | 3
MSWD-021 | 33.932 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 4 | Location based on agency representative delineation. Found nothing
MSWD-022 | 33.9321 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 4 | Location based on agency representative delineation. Found nothing
MSWD-023 | 33.9321 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 4 | Location based on agency representative delineation. Found nothing
MSWD-024 | 33.9321 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 4 | Location based on agency representative delineation. Found nothing
MSWD-025 | 33.9321 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 4 | Location based on agency representative delineation. Found nothing
MSWD-026 | 33.9324 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 2.75
MSWD-027 | 33.9324 | -116.7098 | Seg - 6 | D-EC 100 | Misson Springs Water Department | WAT | 1.6667
QUE-001 | 33.9318 | -116.8148 | Seg - 5 | D-V 169A | Questar | PIPELINE | Line Only | Abandoned Pipeline
QUE-002 | 33.9265 | -116.7375 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-003 | 33.9267 | -116.7534 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-004 | 33.9258 | -116.7544 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-005 | 33.9258 | -116.755 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-006 | 33.9251 | -116.772 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-007 | 33.9257 | -116.7565 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-008 | 33.9239 | -116.8026 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-009 | 33.9241 | -116.7959 | Seg - 5 | Access Rd | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
QUE-010 | 33.9272 | -116.7196 | Seg - 6 | Rushmore Ave. | Questar | PIPELINE | Line Only | Location based on above ground structure (Posted Sign)
RHW-001 | 34.0445 | -117.2994 | Seg - 2 | 2N27 | Riverside Highland Water Company | WAT | Line Only | Location based on above ground structure (Valve)
RHW-002 | 34.0464 | -117.304 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-003 | 34.046 | -117.3043 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-004 | 34.0457 | -117.3045 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-005 | 34.0454 | -117.3047 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-006 | 34.0449 | -117.3 | Seg - 2 | 2N28 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-007 | 34.0448 | -117.3 | Seg - 2 | 2N28 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-008 | 34.0446 | -117.2997 | Seg - 2 | 2N28 | Riverside Highland Water Company | WAT | Line Only | Location based on above ground structure (Air Vac Valve)
RHW-009 | 34.0446 | -117.2995 | Seg - 2 | 2N27 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-010 | 34.0447 | -117.2992 | Seg - 2 | 2N27 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-011 | 34.0447 | -117.299 | Seg - 2 | 2N27 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-012 | 34.0447 | -117.2991 | Seg - 2 | 2N28 | Riverside Highland Water Company | WAT | 6
RHW-013 | 34.0447 | -117.299 | Seg - 2 | 2N28 | Riverside Highland Water Company | WAT | 6
RHW-014 | 34.0441 | -117.3049 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-015 | 34.044 | -117.3049 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
RHW-016 | 34.0441 | -117.3049 | Seg - 2 | 2N30 | Riverside Highland Water Company | WAT | Line Only | Location based on agency representative delineation.
SCE-001 | 33.9321 | -116.5801 | Seg -6 | D-V 241A | So. Cal Edison | FO | Line Only
SCE-002 | 33.9321 | -116.5802 | Seg -6 | D-V 241A | So. Cal Edison | FO | 4
SCE-003 | 33.9323 | -116.5802 | Seg -6 | D-V 241A | So. Cal Edison | FO | 6+ | Found nothing
SCE-004 | 33.9312 | -116.7718 | Seg - 5 | Access Rd | So. Cal Edison | ELECTRIC | Line Only | Location based on above ground structure
SCE-005 | 33.9274 | -116.7718 | Seg - 5 | Access Rd | So. Cal Edison | ELECTRIC | Line Only | Location based on above ground structure
SCE-006 | 33.9235 | -116.7718 | Seg - 5 | Access Rd | So. Cal Edison | ELECTRIC | Line Only | Location based on above ground structure
SCE-007 | 33.9326 | -116.583 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | Line Only | Location based on agency representative delineation.
SCE-008 | 33.9327 | -116.5829 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2.5
SCE-009 | 33.9327 | -116.5829 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | Line Only | Location based on agency representative delineation.
SCE-010 | 33.9327 | -116.5828 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2
SCE-011 | 33.9327 | -116.5827 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2
SCE-012 | 33.9327 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2.75
SCE-013 | 33.9337 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | Line Only | Location based on agency representative delineation.
SCE-014 | 33.9335 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 3.1667
SCE-015 | 33.9332 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2.5
SCE-016 | 33.933 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2.5
SCE-017 | 33.9329 | -116.5826 | Seg - 6 | D-EC 134B | So. Cal Edison | FO | 2.5
SCE-018 | 33.9875 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | Line Only | Location based on agency representative delineation.
SCE-019 | 33.9875 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 2.1667 | Electric & Fiber in same trench
SCE-020 | 33.9876 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 5 | Electric & Fiber in same trench
SCE-021 | 33.9876 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 5 | Electric & Fiber in same trench
SCE-022 | 33.9876 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | Line Only | Location based on above ground structure (Pull Box)
SCE-023 | 33.9877 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 5.1667 | Electric & Fiber in same trench
SCE-024 | 33.9877 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 5 | Electric & Fiber in same trench
SCE-025 | 33.9878 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 4.6667 | Electric & Fiber in same trench
SCE-026 | 33.9878 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 4.25 | Electric & Fiber in same trench
SCE-027 | 33.9878 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 5 | Electric & Fiber in same trench
SCE-028 | 33.9878 | -117.1527 | Seg - 3 | 3S33 | So. Cal Edison | Electric | Line Only | Location based on above ground structure (Pull Box)
SCE-029 | 33.9881 | -117.1526 | Seg - 3 | 3S33 | So. Cal Edison | Electric | 3 | Electric & Fiber in same trench
SCE-030 | 33.9882 | -117.1526 | Seg - 3 | 3S33 | So. Cal Edison | Electric | Line Only | Location based on above ground structure (Pull Box)
SCE-031 | 33.9882 | -117.1526 | Seg - 3 | 3S33 | So. Cal Edison | Electric | Line Only | Location based on agency representative delineation.
SCE-032 | 34.0778 | -117.2393 | Seg - 1 | SB-V 1 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-033 | 34.0741 | -117.2393 | Seg - 1 | SB-V 3 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-034 | 34.0704 | -117.2393 | Seg - 1 | SB-V 5 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-035 | 34.0671 | -117.2394 | Seg - 1 | N. of I-10 Fwy | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-036 | 34.0657 | -117.2393 | Seg - 1 | SB-V 7 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-037 | 34.0629 | -117.2392 | Seg - 1 | SB-V 9 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-038 | 34.0602 | -117.2393 | Seg - 1 | SB-V 10 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-039 | 34.0569 | -117.2393 | Seg - 1 | SB-V 12 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-040 | 34.0558 | -117.2395 | Seg - 1 | SB-V 13 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Valve)
SCE-041 | 34.0556 | -117.2395 | Seg - 1 | SB-V 13 | So. Cal Edison | BRINE | Line Only | Location based on above ground structure (Man Hole)
SCG-001 | 34.037 | -117.2436 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-002 | 34.0366 | -117.2437 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-003 | 34.036 | -117.2439 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-004 | 34.0356 | -117.2436 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-005 | 34.0352 | -117.2434 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-006 | 34.0348 | -117.243 | Seg - 2 | 2N03/2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-007 | 34.0335 | -117.2426 | Seg - 2 | 2N02 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-008 | 34.0319 | -117.2421 | Seg - 2 | M4-T4 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-009 | 34.0333 | -117.2426 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 0.41667
SCG-010 | 34.0332 | -117.2425 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 4.4167
SCG-011 | 34.0331 | -117.2425 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 4.5
SCG-012 | 34.033 | -117.2425 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 5.5
SCG-013 | 34.0329 | -117.2424 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 3
SCG-014 | 34.0327 | -117.2423 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 4
SCG-015 | 34.0326 | -117.2423 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 4
SCG-016 | 34.032 | -117.2422 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 0.41667
SCG-017 | 34.0321 | -117.2423 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 3
SCG-018 | 34.0321 | -117.2423 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 3
SCG-019 | 34.0305 | -117.2419 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | 4
SCG-020 | 34.0306 | -117.2419 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | 4.5
SCG-021 | 34.0308 | -117.242 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | Line Only | Location based on agency representative delineation.
SCG-022 | 34.031 | -117.2419 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | 5
SCG-023 | 34.0312 | -117.242 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | 3.5
SCG-024 | 34.0313 | -117.242 | Seg - 1 | 1W01 | So. Cal Gas | 12" Gas line | 7
SCG-025 | 34.0339 | -117.2428 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 1.8333
SCG-026 | 34.0342 | -117.2429 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 3.5
SCG-027 | 34.0346 | -117.243 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | 5
SCG-028 | 34.0345 | -117.243 | Seg - 2 | 2N02 | So. Cal Gas | 12" Gas line | Line Only | Location based on agency representative delineation.
SCG-029 | 33.9325 | -116.859 | Seg - 5 |  | So. Cal Gas | Gas Line | 3 | Location based on paddle with Depth on it
SCG-030 | 33.9318 | -116.814 | Seg - 5 | D-V 169A | So. Cal Gas | Gas Line | Line Only | Location based on above ground structure (Paddle)
SCG-031 | 33.9604 | -117.0248 | Seg - 4 | 4N45 | So. Cal Gas | 10" GAS | Line Only | Location based on above ground structure (Paddle)
SCG-032 | 33.9601 | -117.0242 | Seg - 4 | 4N45 | So. Cal Gas | 10" GAS | 4.4167
SCG-033 | 33.9599 | -117.0239 | Seg - 4 | 4N45 | So. Cal Gas | 10" GAS | 4
SCG-034 | 33.9596 | -117.0235 | Seg - 4 | 4N45 | So. Cal Gas | 10" GAS | 4
SCG-035 | 33.9593 | -117.0229 | Seg - 4 | 4N45 | So. Cal Gas | 10" GAS | Line Only | Location based on agency representative delineation.
SCG-036 | 33.9614 | -117.0361 | Seg - 4 | 4S49 | So. Cal Gas | GAS | Line Only | Location based on agency representative delineation.
SCG-037 | 33.9617 | -117.0365 | Seg - 4 | 4S49 | So. Cal Gas | 6" GAS | 4
SCG-038 | 33.9619 | -117.0369 | Seg - 4 | 4S49 | So. Cal Gas | GAS | Line Only | Location based on agency representative delineation.
SCG-039 | 33.9621 | -117.0371 | Seg - 4 | 4S49 | So. Cal Gas | GAS | Line Only | Location based on agency representative delineation.
SCG-040 | 33.9624 | -117.0374 | Seg - 4 | 4S49 | So. Cal Gas | 6" GAS | 4
SCG-041 | 33.933 | -116.6266 | Seg - 6 | D-EC 123 | So. Cal Gas | 16" GAS | 3.1667
SCG-042 | 33.9329 | -116.6268 | Seg - 6 | D-EC 123 | So. Cal Gas | 16" GAS | 3.3333
SCG-043 | 33.9328 | -116.6273 | Seg - 6 | D-EC 123 | So. Cal Gas | 16" GAS | 3
SCG-044 | 33.9327 | -116.6276 | Seg - 6 | D-EC 123 | So. Cal Gas | 16" GAS | 3
SCG-045 | 33.932 | -116.6298 | Seg - 6 | D-EC 122 | So. Cal Gas | 16" GAS | 3.25
SCG-046 | 33.932 | -116.6301 | Seg - 6 | D-EC 122 | So. Cal Gas | 16" GAS | 3.5833
SCG-047 | 33.9319 | -116.6303 | Seg - 6 | D-EC 122 | So. Cal Gas | 16" GAS | 3.3333
SCG-048 | 33.931 | -116.6334 | Seg - 6 | D-V 224 | So. Cal Gas | 16" GAS | 0.5
SCG-049 | 33.931 | -116.6336 | Seg - 6 | D-V 224 | So. Cal Gas | 16" GAS | 7.75
SCG-050 | 33.9262 | -116.6522 | Seg - 6 | D-V 218 | So. Cal Gas | 16" GAS | 4.1667
SCG-051 | 33.9262 | -116.6524 | Seg - 6 | D-V 218 | So. Cal Gas | 16" GAS | 3.3333
SCG-052 | 33.9264 | -116.6554 | Seg - 6 | D-V 217 | So. Cal Gas | 16" GAS | 6
SCG-053 | 33.9264 | -116.6556 | Seg - 6 | D-V 217 | So. Cal Gas | 16" GAS | 3.75
SCG-054 | 33.9264 | -116.6558 | Seg - 6 | D-V 217 | So. Cal Gas | 16" GAS | 4.5
SCG-055 | 33.9249 | -116.7405 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-056 | 33.9249 | -116.7405 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-057 | 33.9254 | -116.7451 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-058 | 33.9261 | -116.752 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-059 | 33.9263 | -116.7544 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-060 | 33.9248 | -116.7436 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-061 | 33.9244 | -116.7531 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-062 | 33.9243 | -116.7544 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-063 | 33.9327 | -116.8286 | Seg - 5 | D-V 168V-TSP-1(29) | So. Cal Gas | L2001 | 4+ | Found nothing
SCG-064 | 33.9327 | -116.8284 | Seg - 5 | D-V 168V-TSP-1(29) | So. Cal Gas | L2001 | 6+ | Found nothing
SCG-065 | 33.9327 | -116.8273 | Seg - 5 | D-V 168W-TSP-1(29A) | So. Cal Gas | L2001 | 3.3333
SCG-066 | 33.9327 | -116.8271 | Seg - 5 | D-V 168W-TSP-1(29A) | So. Cal Gas | L2001 | 3
SCG-067 | 33.9327 | -116.8269 | Seg - 5 | D-V 168W-TSP-1(29A) | So. Cal Gas | L2001 | 3
SCG-068 | 33.9328 | -116.8252 | Seg - 5 | D-V 168X-TSP-1(30) | So. Cal Gas | L2001 | 3.25
SCG-069 | 33.9328 | -116.825 | Seg - 5 | D-V 168X-TSP-1(30) | So. Cal Gas | L2001 | 3.25
SCG-070 | 33.9328 | -116.8248 | Seg - 5 | D-V 168X-TSP-1(30) | So. Cal Gas | L2001 | 3.3333
SCG-071 | 33.9328 | -116.8246 | Seg - 5 | D-V 168X-TSP-1(30) | So. Cal Gas | L2001 | Line Only | Location based on agency representative delineation.
SCG-072 | 33.9325 | -116.8207 | Seg - 5 | D-EC 71R (92) | So. Cal Gas | L2001 | 3.3333
SCG-073 | 33.9325 | -116.8209 | Seg - 5 | D-EC 71R (92) | So. Cal Gas | L2001 | 4
SCG-074 | 33.9325 | -116.8211 | Seg - 5 | D-EC 71R (92) | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Valve)
SCG-075 | 33.9325 | -116.8212 | Seg - 5 | D-EC 71R (92) | So. Cal Gas | L2001 | 5.5
SCG-076 | 33.9325 | -116.8214 | Seg - 5 | D-EC 71R (92) | So. Cal Gas | L2001 | 6.8333
SCG-077 | 33.9327 | -116.8246 | Seg - 5 | D-V 168X-T SP-1(30) | So. Cal Gas | DIST-GAS | Line Only | Location based on agency representative delineation.
SCG-078 | 33.9327 | -116.8245 | Seg - 5 | D-V 168X-T SP-1(30) | So. Cal Gas | DIST-GAS | Line Only | Location based on agency representative delineation.
SCG-079 | 33.9326 | -116.8245 | Seg - 5 | D-V 168X-T SP-1(30) | So. Cal Gas | DIST-GAS | Line Only | Location based on agency representative delineation.
SCG-080 | 33.9325 | -116.824 | Seg - 5 | D-V 168Y (30A) | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-081 | 33.924 | -116.7717 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-082 | 33.9242 | -116.7643 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-083 | 33.9269 | -116.7603 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-084 | 33.9281 | -116.772 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-085 | 33.9318 | -116.8072 | Seg - 5 | D-V 171 | So. Cal Gas | L2001 | Line Only | Location based on agency representative delineation.
SCG-086 | 33.9234 | -116.7922 | Seg - 5 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on agency representative delineation.
SCG-087 | 33.93 | -116.7893 | Seg - 5 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on agency representative delineation.
SCG-088 | 33.9326 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | 3.8333
SCG-089 | 33.9324 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | 3.9167
SCG-090 | 33.9323 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | 3.75
SCG-091 | 33.9322 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | 3.8333
SCG-092 | 33.9319 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | Line Only | Location based on above ground structure
SCG-093 | 33.932 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 4" GAS | Line Only | Location based on above ground structure
SCG-094 | 33.9321 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 4" GAS | 4.5
SCG-095 | 33.9323 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 4" GAS | 3.75
SCG-096 | 33.9325 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 4" GAS | 4.3333
SCG-097 | 33.9326 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 4" GAS | Line Only | Location based on agency representative delineation.
SCG-098 | 33.9326 | -116.8211 | Seg - 5 | D-V 168Z (31) | So. Cal Gas | 2" GAS | Line Only | Location based on agency representative delineation.
SCG-099 | 33.9325 | -116.8184 | Seg - 5 | D-EC 72 | So. Cal Gas | L2001 | 5.4167
SCG-100 | 33.9325 | -116.8182 | Seg - 5 | D-EC 72 | So. Cal Gas | L2001 | 6.8333
SCG-101 | 33.9325 | -116.8179 | Seg - 5 | D-EC 72 | So. Cal Gas | L2001 | 6
SCG-102 | 33.9325 | -116.8153 | Seg - 5 | D-EC 72A | So. Cal Gas | L2001 | 6.3333
SCG-103 | 33.9325 | -116.8152 | Seg - 5 | D-EC 72A | So. Cal Gas | L2001 | 5
SCG-104 | 33.9325 | -116.8151 | Seg - 5 | D-EC 72A | So. Cal Gas | L2001 | 8+ | Found nothing
SCG-105 | 33.9322 | -116.8147 | Seg - 5 | D-V 169A | So. Cal Gas | L2001 | 7+ | Found nothing
SCG-106 | 33.9322 | -116.8146 | Seg - 5 | D-V 169A | So. Cal Gas | L2001 | 7+ | Found nothing
SCG-107 | 33.9293 | -116.6395 | Seg - 6 | D-V 221/D-V 224 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-108 | 33.9292 | -116.6397 | Seg - 6 | D-V 221/D-V 224 | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-109 | 33.9265 | -116.6419 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-110 | 33.9257 | -116.6425 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-111 | 33.9252 | -116.6436 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-112 | 33.9255 | -116.6464 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-113 | 33.9266 | -116.6587 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-114 | 33.927 | -116.6674 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-115 | 33.927 | -116.6741 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-116 | 33.9239 | -116.675 | Seg - 6 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-117 | 33.9238 | -116.675 | Seg - 6 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-118 | 33.9248 | -116.675 | Seg - 6 | Access Rd | So. Cal Gas | L5000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-119 | 33.9249 | -116.6778 | Seg - 6 | Access Rd | So. Cal Gas | L5000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-120 | 33.9239 | -116.676 | Seg - 6 | Access Rd | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-121 | 33.9239 | -116.6759 | Seg - 6 | Access Rd | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-122 | 33.927 | -116.6821 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-123 | 33.9272 | -116.6892 | Seg - 6 | Access Rd | So. Cal Gas | GAS | Line Only | Location based on above ground structure (Posted Sign)
SCG-124 | 33.9241 | -116.6797 | Seg - 6 | Dirt Road | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-125 | 33.9242 | -116.6797 | Seg - 6 | Dirt Road | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-126 | 33.9245 | -116.6854 | Seg - 6 | Dirt Road | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-127 | 33.9245 | -116.6854 | Seg - 6 | Dirt Road | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-128 | 33.9252 | -116.6853 | Seg - 6 | Tammarack Rd. | So. Cal Gas | L5000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-129 | 33.9257 | -116.6964 | Seg - 6 | Tammarack Rd. | So. Cal Gas | L5000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-130 | 33.925 | -116.6972 | Seg - 6 | Dirt Road | So. Cal Gas | L5000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-131 | 33.9251 | -116.6964 | Seg - 6 | Dirt Road | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
SCG-132 | 33.9252 | -116.6964 | Seg - 6 | Dirt Road | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-133 | 33.925 | -116.7198 | Seg - 6 | Rushmore Ave. | So. Cal Gas | L2001 | Line Only | Location based on above ground structure (Posted Sign)
SCG-134 | 33.9249 | -116.7198 | Seg - 6 | Rushmore Ave. | So. Cal Gas | L2000 | Line Only | Location based on above ground structure (Posted Sign)
TWC-001 | 33.9615 | -117.0362 | Seg - 4 | 4S49 | TIME WARNER | FO | 3.5
TWC-002 | 33.9617 | -117.0365 | Seg - 4 | 4S49 | TIME WARNER | FO | 3.5
TWC-003 | 33.9619 | -117.0367 | Seg - 4 | 4S49 | TIME WARNER | FO | 3.5
TWC-004 | 33.9624 | -117.0374 | Seg - 4 | 4S49 | TIME WARNER | FO | 4
TWC-005 | 33.9621 | -117.037 | Seg - 4 | 4S49 | TIME WARNER | FO | 3.5
IRR-001 | 34.0451 | -117.3043 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-002 | 34.0452 | -117.3043 | Seg - 2 | 2N30 | Unknown | WAT | 3 | 24" Irrigation line for unknown agency
IRR-003 | 34.0459 | -117.3042 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-004 | 34.0459 | -117.3042 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-005 | 34.0458 | -117.3042 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-006 | 34.0456 | -117.3042 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-007 | 34.0455 | -117.3042 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
IRR-008 | 34.0453 | -117.3043 | Seg - 2 | 2N30 | Unknown | WAT | Line Only | 24" Irrigation line for unknown agency
UPIPE-001 | 33.9305 | -116.6874 | Seg - 6 | D-V 207 | Unknown | 4" Pipe | 2.25 | Unknown pipe
UWAT-001 | 33.9339 | -116.7722 | Seg - 5 | Access Rd | Unknown | WAT | Line Only | Location based on above ground structure
UWAT-002 | 33.9284 | -116.7718 | Seg - 5 | Access Rd | Unknown | WAT | Line Only | Location based on above ground structure
UWAT-003 | 33.925 | -116.7719 | Seg - 5 | Access Rd | Unknown | WAT | Line Only | Location based on above ground structure
UWAT-004 | 33.9232 | -116.7718 | Seg - 5 | Access Rd | Unknown | WAT | Line Only | Location based on above ground structure
UWAT-005 | 33.9205 | -116.7718 | Seg - 5 | Access Rd | Unknown | WAT | Line Only | Location based on above ground structure
UFO-001 | 33.9251 | -116.7717 | Seg - 5 | Acc. Rd | Unknown - Fiber | FO | Line Only | Along possible Access Road
VZN-001 | 34.0428 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | 3
VZN-002 | 34.0428 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | 3
VZN-003 | 34.0428 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | 3
VZN-004 | 34.0428 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | 3
VZN-005 | 34.0429 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | 3
VZN-006 | 34.0429 | -117.2393 | Seg - 1 | 1W06/1E06 | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-007 | 34.06 | -117.2389 | Seg - 1 | 1W17/1E/17 | Verizon | FO | 2.5
VZN-008 | 34.0601 | -117.2391 | Seg - 1 | 1W17/1E/17 | Verizon | FO | 1.6
VZN-009 | 33.9327 | -116.5803 | Seg -6 | D-V 241A | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-010 | 33.9323 | -116.5803 | Seg -6 | D-V 241A | Verizon | FO | 1.3333
VZN-011 | 33.9322 | -116.5803 | Seg -6 | D-V 241A | Verizon | FO | 1
VZN-012 | 33.932 | -116.5803 | Seg -6 | D-V 241A | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-013 | 33.9327 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 3.25
VZN-014 | 33.9325 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 3.25
VZN-015 | 33.9325 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 1.8333
VZN-016 | 33.9325 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 5+ | Nothing Found
VZN-017 | 33.9327 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 5+ | Nothing Found
VZN-018 | 33.9327 | -116.603 | Seg - 6 | D-EC 129 | Verizon | FO | 1.8333
VZN-019 | 33.9318 | -116.603 | Seg - 6 | D-V 234 | Verizon | FO | 2.75
VZN-020 | 33.9318 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 3
VZN-021 | 33.9318 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 3.5833
VZN-022 | 33.9318 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 5+ | Nothing Found
VZN-023 | 33.9317 | -116.603 | Seg - 6 | D-V 234 | Verizon | FO | 1.9167
VZN-024 | 33.9317 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 2.75
VZN-025 | 33.9317 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 3.5
VZN-026 | 33.9317 | -116.6031 | Seg - 6 | D-V 234 | Verizon | FO | 5+ | Nothing Found
VZN-027 | 33.9302 | -116.6872 | Seg - 6 | D-V 207 | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-028 | 33.9303 | -116.6873 | Seg - 6 | D-V 207 | Verizon | FO | 0.83333
VZN-029 | 33.9304 | -116.6874 | Seg - 6 | D-V 207 | Verizon | FO | 1
VZN-030 | 33.9306 | -116.6875 | Seg - 6 | D-V 207 | Verizon | FO | Line Only | Location based on above ground structure (Pull Box)
VZN-031 | 33.9474 | -116.8769 | Seg - 5 | D-V 168 (12) | Verizon | FO | 2.5
VZN-032 | 33.9473 | -116.8769 | Seg - 5 | D-V 168 (12) | Verizon | FO | 2.8333
VZN-033 | 33.9473 | -116.8768 | Seg - 5 | D-V 168 (12) | Verizon | FO | 3.5
VZN-034 | 33.9474 | -116.8768 | Seg - 5 | D-V 168 (12) | Verizon | FO | 3.75
VZN-035 | 33.9494 | -116.9694 | Seg - 4 | 4N29 | Verizon | FO | 2
VZN-036 | 33.9496 | -116.9694 | Seg - 4 | 4N29 | Verizon | FO | 1.6667
VZN-037 | 33.9497 | -116.9694 | Seg - 4 | 4N29 | Verizon | FO | 1.8333
VZN-038 | 33.9498 | -116.9693 | Seg - 4 | 4N29 | Verizon | FO | 2.75
VZN-039 | 33.9332 | -116.7185 | Seg - 6 | D-EC 98 | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-040 | 33.9333 | -116.7185 | Seg - 6 | D-EC 98 | Verizon | FO | 2
VZN-041 | 33.9334 | -116.7185 | Seg - 6 | D-EC 98 | Verizon | FO | 3
VZN-042 | 33.9334 | -116.7185 | Seg - 6 | D-EC 98 | Verizon | FO | Line Only | Location based on above ground structure (Pull Box)
VZN-043 | 33.9334 | -116.7187 | Seg - 6 | D-EC 98 | Verizon | FO | 2.75
VZN-044 | 33.9334 | -116.7189 | Seg - 6 | D-EC 98 | Verizon | FO | 2.75
VZN-045 | 33.9334 | -116.7196 | Seg - 6 | D-EC 98 | Verizon | FO | Line Only | Location based on above ground structure (Pull Box)
VZN-046 | 33.9328 | -116.7109 | Seg - 6 | D-EC 100 | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-047 | 33.9327 | -116.7109 | Seg - 6 | D-EC 100 | Verizon | FO | 4+ | Location based on agency representative delineation. Found nothing
VZN-048 | 33.9325 | -116.7109 | Seg - 6 | D-EC 100 | Verizon | FO | 5+ | Location based on agency representative delineation. Found nothing
VZN-049 | 33.9323 | -116.7109 | Seg - 6 | D-EC 100 | Verizon | FO | 4+ | Location based on agency representative delineation. Found nothing
VZN-050 | 33.932 | -116.7109 | Seg - 6 | D-V 199 | Verizon | FO | 6+ | Location based on agency representative delineation. Found nothing
VZN-051 | 33.9319 | -116.7109 | Seg - 6 | D-V 199 | Verizon | FO | 6+ | Location based on agency representative delineation. Found nothing
VZN-052 | 33.9318 | -116.7109 | Seg - 6 | D-V 199 | Verizon | FO | 6+ | Location based on agency representative delineation. Found nothing
VZN-053 | 33.9317 | -116.7109 | Seg - 6 | D-V 199 | Verizon | FO | Line Only | Location based on agency representative delineation.
VZN-054 | 34.0602 | -117.2393 | Seg - 1 | SB-V 10 | Verizon | FO | Line Only | Location based on agency representative delineation.
W-STA | 33.9318 | -116.8052 | Seg - 5 | Acc. Rd | Weather Station |  |  | Weather Station
WF-001 | 33.9321 | -116.5828 | Seg - 6 | D-EC 134A | Wind Farms | Electric | Line Only | Location based on agency representative delineation. Electric and Fiber in same trench
WF-002 | 33.9323 | -116.5828 | Seg - 6 | D-EC 134A | Wind Farms | Electric | 8
WF-003 | 33.9326 | -116.5828 | Seg - 6 | D-EC 134A | Wind Farms | Electric | 8
WF-004 | 33.9328 | -116.5827 | Seg - 6 | D-EC 134A | Wind Farms | Electric | 8
WF-005 | 33.933 | -116.5827 | Seg - 6 | D-EC 134B | Wind Farms | Electric | 8
WF-006 | 33.9333 | -116.5827 | Seg - 6 | D-EC 134B | Wind Farms | Electric | 8